## About
PTCF Peak Time Capacity Factors
Source:
Monthly Generation Profiles
https://www150.statcan.gc.ca/t1/tbl1/en/tv.action?pid=2510001501
Total Capacity Profiles
https://apps.cer-rec.gc.ca/ftrppndc/dflt.aspx?GoCTemplateCulture=en-CA
Notes
Peak time capacity factors are meant to represent the average availability of resources to meeting peak
during the peak hours of the year in the summer and winter seasons.
We take factors where available from each of the markets and weight the values by the share
of system load from each region to generate a weighted average peak time capacity factor
In PTCF tab, assume offshore and onshore wind are the same CF, solar PV and Thermal are the same PV.
Biomass, geothermal, and municipal solid waste do not have available data.
All combustion and nuclear resources are assumed to have factor of 0.9.

## Ontario
Electric power generation, monthly generation by type of electricity 1 2
Frequency: Monthly
Table: 25-10-0015-01 (formerly CANSIM 127-0002)
Release date: 2021-10-08
Geography: Canada, Province or territory
Ontario
| Total all classes of electricity producer | [11 empty] | Totals
Type of electricity generation | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | 2018-07-01 | 2018-08-01 | 2018-09-01 | 2018-10-01 | 2018-11-01 | 2018-12-01 |  | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01
| 2018-01-01: Megawatt hours |  | Megawatt hours
Total all types of electricity generation | 14612989 | 12188411 | 12860259 | 11715642 | 12189386 | 12338008 | 13697316 | 13571423 | 12294172 | 12624440 | 12973386 | 13561183 | 154626615 | 14505735 | 12994752 | 13311185 | 12054674 | 12344203 | 12996276 | 15189339 | 13296636 | 11448876 | 11943619 | 12085624 | 13137329
Hydraulic turbine 3 | 3579263 | 3176001 | 3121381 | 2805590 | 3529145 | 3256394 | 2893069 | 2675601 | 2707305 | 3145572 | 3328991 | 3469601 | 37687913 | 3473891 | 3314715 | 3387499 | 3209776 | 3412556 | 3483971 | 3499122 | 2821456 | 2725843 | 3068202 | 3176750 | 3448917
Conventional steam turbine 4 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Nuclear steam turbine 5 | 8012753 | 6807599 | 7565383 | 6827111 | 7139208 | 7183280 | 8026040 | 8000658 | 7412429 | 7847158 | 7521960 | 7811691 | 90155270 | 8403186 | 6974406 | 7446767 | 7060822 | 6987629 | 7479726 | 8565439 | 7713551 | 6647669 | 6955185 | 6787649 | 6834743
Internal combustion turbine 6 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Combustion turbine 7 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Total electricity production from combustible fuels 8 | 1411911 | 970140 | 878687 | 892664 | 568814 | 910531 | 1952069 | 2011781 | 1310788 | 551096 | 839900 | 1054706 | 13353087 | 1255227 | 1093680 | 883497 | 457524 | 664247 | 1008240 | 2242564 | 1859467 | 901599 | 837773 | 666441 | 1321468
Tidal power turbine 9 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Wind power turbine 10 | 1551780 | 1151966 | 1115147 | 999782 | 678721 | 703201 | 527066 | 571071 | 649764 | 940898 | 1199746 | 1164611 | 11253753 | 1304558 | 1492047 | 1380864 | 1085967 | 994600 | 693531 | 541831 | 609401 | 907150 | 912652 | 1315766 | 1459928
Solar 11 | 57282 | 82705 | 179661 | 190495 | 273498 | 284602 | 299072 | 312312 | 213886 | 139716 | 82789 | 60574 | 2176592 | 68873 | 119904 | 212558 | 240585 | 285171 | 330808 | 340383 | 292761 | 266520 | 169807 | 139018 | 72273
Other types of electricity generation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95 | 0 | 0 | 0
Symbol legend:
.. | 2018-01-01: not available for a specific reference period
Footnotes:
1 | 2018-01-01: For monthly data prior to January 2008, please see table 25-10-0001-01 (terminated). For current monthly data on Electric power receipts and deliveries, see table 25-10-0016-01.
2 | 2018-01-01: The target population for the Monthly Electricity Supply and Disposition Survey has been expanded to improve coverage of renewable energy in Canada, particularly wind and solar power. As a result of this change, users will have to use caution when comparing data for historical purposes. For wind power, significant changes occurred in British Columbia, Alberta, Ontario, Quebec and Prince Edward Island. For solar power, significant changes occurred in Ontario.
3 | 2018-01-01: Electric power generated from a plant in which the turbine generators are driven by flowing water. Prior to January 2008, hydro included wind and tidal generation. From January 2008 on, wind and tidal generation are reported separately.
4 | 2018-01-01: A power plant in which the prime mover is a steam turbine. The steam used to drive the turbine is produced in a boiler where fossil fuels or other combustible materials are burned. From January 2016 on, this generation is reported as part of combustible fuel generation.
5 | 2018-01-01: Electricity generated at an electric power plant whose turbines are driven by steam generated in a reactor by heat from the fission of nuclear fuel.
6 | 2018-01-01: A power plant in which the prime mover is an internal combustion turbine. Electric power is generated by converting energy obtained by the rapid burning of a fuel-air mixture into mechanical energy. From January 2016 on, this generation is reported as part of combustible fuel generation.
7 | 2018-01-01: A power plant in which the prime mover is a combustion turbine. Electric power is generated by converting energy obtained by burning fuel into mechanical energy. From January 2016 on, this generation is reported as part of combustible fuel generation.
8 | 2018-01-01: Total combustible generation includes non-renewable combustible fuels (coal, natural gas, petroleum and other non-renewable combustible fuels) and biomass (wood, spent pulping liquor, methane, municipal waste, other waste and other types of biomass).
9 | 2018-01-01: Electric power generated from a plant in which the turbine generators are driven by moving water from tidal flows.
10 | 2018-01-01: A power plant in which the prime mover is a wind turbine. Electric power is generated by the conversion of wind power into mechanical energy.
11 | 2018-01-01: Electricity created by converting solar radiation through photovoltaic processes or transforming solar radiation captured by concentrating thermal systems.
How to cite: Statistics Canada. Table 25-10-0015-01 Electric power generation, monthly generation by type of electricity
https://www150.statcan.gc.ca/t1/tbl1/en/tv.action?pid=2510001501

## Alberta
Electric power generation, monthly generation by type of electricity 1 2
Frequency: Monthly
Table: 25-10-0015-01 (formerly CANSIM 127-0002)
Release date: 2021-10-08
Geography: Canada, Province or territory
Alberta
| Total all classes of electricity producer | [11 empty] | Totals | Total all classes of electricity producer | [11 empty] | Totals
Type of electricity generation | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | 2018-07-01 | 2018-08-01 | 2018-09-01 | 2018-10-01 | 2018-11-01 | 2018-12-01 |  | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01
| 2018-01-01: Megawatt hours |  | Megawatt hours
Total all types of electricity generation | 7132104 | 6281655 | 6716343 | 5799825 | 5867387 | 5697881 | 6849537 | 7035765 | 6576590 | 6717674 | 7098436 | 7534956 | 79308153 | 7022647 | 6588920 | 6585766 | 5915007 | 5210225 | 5747883 | 5801065 | 6126952 | 6111056 | 6448604 | 6905688 | 6990709 | 75454522
Hydraulic turbine 3 | 103695 | 102802 | 109119 | 129920 | 229431 | 234825 | 300957 | 243550 | 169452 | 127016 | 122492 | 124332 | 1997591 | 138165 | 106008 | 100560 | 121140 | 220231 | 386991 | 440949 | 290546 | 194545 | 162931 | 136841 | 135429 | 2434336
Conventional steam turbine 4 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | 0 | bar: 2018-01-01 to 2018-12-01
Nuclear steam turbine 5 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | 0 | bar: 2018-01-01 to 2018-12-01
Internal combustion turbine 6 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | 0 | bar: 2018-01-01 to 2018-12-01
Combustion turbine 7 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | 0 | bar: 2018-01-01 to 2018-12-01
Total electricity production from combustible fuels 8 | 6526469 | 5777573 | 6317675 | 5334406 | 5323682 | 5101974 | 6289361 | 6518944 | 6201412 | 6207969 | 6498795 | 6860138 | 72958398 | 6407865 | 5988859 | 6063848 | 5437114 | 4636730 | 4985448 | 5057221 | 5522706 | 5569188 | 5818587 | 6017432 | 6165806 | 67670804
Tidal power turbine 9 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | 0 | bar: 2018-01-01 to 2018-12-01
Wind power turbine 10 | 481948 | 381701 | 264855 | 315217 | 295582 | 343537 | 240091 | 255374 | 189053 | 362583 | 458391 | 530891 | 4119223 | 471870 | 487479 | 413205 | 349834 | 344656 | 366659 | 298975 | 309795 | 344593 | 465677 | 747766 | 685156 | 5285665
Solar 11 | 620 | 1436 | 2819 | 2944 | 3293 | 3206 | 3677 | 2773 | 1898 | 1740 | 648 | 493 | 25547 | 576 | 1397 | 2106 | 2527 | 2988 | 3225 | 3619 | 3454 | 2730 | 1409 | 712 | 1601 | 26344
Other types of electricity generation | 19372 | 18143 | 21875 | 17338 | 15399 | 14339 | 15451 | 15124 | 14775 | 18366 | 18110 | 19102 | 207394 | 4171 | 5177 | 6047 | 4392 | 5620 | 5560 | 301 | 451 | 0 | 0 | 2937 | 2717 | 37373
Symbol legend:
.. | 2018-01-01: not available for a specific reference period
Footnotes:
1 | 2018-01-01: For monthly data prior to January 2008, please see table 25-10-0001-01 (terminated). For current monthly data on Electric power receipts and deliveries, see table 25-10-0016-01.
2 | 2018-01-01: The target population for the Monthly Electricity Supply and Disposition Survey has been expanded to improve coverage of renewable energy in Canada, particularly wind and solar power. As a result of this change, users will have to use caution when comparing data for historical purposes. For wind power, significant changes occurred in British Columbia, Alberta, Ontario, Quebec and Prince Edward Island. For solar power, significant changes occurred in Ontario.
3 | 2018-01-01: Electric power generated from a plant in which the turbine generators are driven by flowing water. Prior to January 2008, hydro included wind and tidal generation. From January 2008 on, wind and tidal generation are reported separately.
4 | 2018-01-01: A power plant in which the prime mover is a steam turbine. The steam used to drive the turbine is produced in a boiler where fossil fuels or other combustible materials are burned. From January 2016 on, this generation is reported as part of combustible fuel generation.
5 | 2018-01-01: Electricity generated at an electric power plant whose turbines are driven by steam generated in a reactor by heat from the fission of nuclear fuel.
6 | 2018-01-01: A power plant in which the prime mover is an internal combustion turbine. Electric power is generated by converting energy obtained by the rapid burning of a fuel-air mixture into mechanical energy. From January 2016 on, this generation is reported as part of combustible fuel generation.
7 | 2018-01-01: A power plant in which the prime mover is a combustion turbine. Electric power is generated by converting energy obtained by burning fuel into mechanical energy. From January 2016 on, this generation is reported as part of combustible fuel generation.
8 | 2018-01-01: Total combustible generation includes non-renewable combustible fuels (coal, natural gas, petroleum and other non-renewable combustible fuels) and biomass (wood, spent pulping liquor, methane, municipal waste, other waste and other types of biomass).
9 | 2018-01-01: Electric power generated from a plant in which the turbine generators are driven by moving water from tidal flows.
10 | 2018-01-01: A power plant in which the prime mover is a wind turbine. Electric power is generated by the conversion of wind power into mechanical energy.
11 | 2018-01-01: Electricity created by converting solar radiation through photovoltaic processes or transforming solar radiation captured by concentrating thermal systems.
How to cite: Statistics Canada. Table 25-10-0015-01 Electric power generation, monthly generation by type of electricity
https://www150.statcan.gc.ca/t1/tbl1/en/tv.action?pid=2510001501

## BC
Electric power generation, monthly generation by type of electricity 1 2
Frequency: Monthly
Table: 25-10-0015-01 (formerly CANSIM 127-0002)
Release date: 2021-10-08
Geography: Canada, Province or territory
British Columbia
| Total all classes of electricity producer | [11 empty] | Totals |  | Total all classes of electricity producer
Type of electricity generation | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | 2018-07-01 | 2018-08-01 | 2018-09-01 | 2018-10-01 | 2018-11-01 | 2018-12-01 |  | Type of electricity generation | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01
| 2018-01-01: Megawatt hours |  |  | Megawatt hours
Total all types of electricity generation | 6551314 | 5896355 | 6054522 | 4843039 | 5087534 | 5087677 | 6062353 | 5722874 | 4952536 | 5806449 | 5357036 | 6035647 | 67457336 | Total all types of electricity generation | 6288988 | 5779052 | 6381012 | 5097261 | 5268587 | 5134813 | 6137129 | 6941522 | 5298875 | 5907967 | 6740700 | 7644951
Hydraulic turbine 3 | 5905363 | 5307636 | 5475802 | 4234580 | 4536107 | 4607841 | 5484785 | 5163032 | 4376089 | 5210615 | 4767222 | 5364967 | 60434039 | Hydraulic turbine 3 | 5628653 | 5081034 | 5670347 | 4387224 | 4666012 | 4469389 | 5503325 | 6096643 | 4544210 | 5171686 | 5868136 | 6776649
Conventional steam turbine 4 | [12 empty] | 0 | Conventional steam turbine 4 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Nuclear steam turbine 5 | [12 empty] | 0 | Nuclear steam turbine 5 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Internal combustion turbine 6 | [12 empty] | 0 | Internal combustion turbine 6 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Combustion turbine 7 | [12 empty] | 0 | Combustion turbine 7 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Total electricity production from combustible fuels 8 | 536339 | 477409 | 477374 | 480987 | 430984 | 375340 | 487936 | 437205 | 472076 | 436071 | 460917 | 526740 | 5599378 | Total electricity production from combustible fuels 8 | 566665 | 498841 | 547172 | 518689 | 387194 | 408399 | 358363 | 466087 | 474675 | 487247 | 506077 | 521755
Tidal power turbine 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Tidal power turbine 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind power turbine 10 | 109544 | 111226 | 101237 | 127336 | 120260 | 104296 | 89414 | 122447 | 104196 | 159646 | 128846 | 143913 | 1422361 | Wind power turbine 10 | 93616 | 199098 | 163391 | 191208 | 215163 | 256782 | 275176 | 378562 | 279799 | 248920 | 366409 | 346491
Solar 11 | 68 | 84 | 109 | 136 | 183 | 200 | 218 | 190 | 175 | 117 | 51 | 27 | 1558 | Solar 11 | 54 | 79 | 102 | 140 | 218 | 243 | 265 | 230 | 191 | 114 | 78 | 56
Other types of electricity generation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Other types of electricity generation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Symbol legend:
.. | 2018-01-01: not available for a specific reference period
Footnotes:
1 | 2018-01-01: For monthly data prior to January 2008, please see table 25-10-0001-01 (terminated). For current monthly data on Electric power receipts and deliveries, see table 25-10-0016-01.
2 | 2018-01-01: The target population for the Monthly Electricity Supply and Disposition Survey has been expanded to improve coverage of renewable energy in Canada, particularly wind and solar power. As a result of this change, users will have to use caution when comparing data for historical purposes. For wind power, significant changes occurred in British Columbia, Alberta, Ontario, Quebec and Prince Edward Island. For solar power, significant changes occurred in Ontario.
3 | 2018-01-01: Electric power generated from a plant in which the turbine generators are driven by flowing water. Prior to January 2008, hydro included wind and tidal generation. From January 2008 on, wind and tidal generation are reported separately.
4 | 2018-01-01: A power plant in which the prime mover is a steam turbine. The steam used to drive the turbine is produced in a boiler where fossil fuels or other combustible materials are burned. From January 2016 on, this generation is reported as part of combustible fuel generation.
5 | 2018-01-01: Electricity generated at an electric power plant whose turbines are driven by steam generated in a reactor by heat from the fission of nuclear fuel.
6 | 2018-01-01: A power plant in which the prime mover is an internal combustion turbine. Electric power is generated by converting energy obtained by the rapid burning of a fuel-air mixture into mechanical energy. From January 2016 on, this generation is reported as part of combustible fuel generation.
7 | 2018-01-01: A power plant in which the prime mover is a combustion turbine. Electric power is generated by converting energy obtained by burning fuel into mechanical energy. From January 2016 on, this generation is reported as part of combustible fuel generation.
8 | 2018-01-01: Total combustible generation includes non-renewable combustible fuels (coal, natural gas, petroleum and other non-renewable combustible fuels) and biomass (wood, spent pulping liquor, methane, municipal waste, other waste and other types of biomass).
9 | 2018-01-01: Electric power generated from a plant in which the turbine generators are driven by moving water from tidal flows.
10 | 2018-01-01: A power plant in which the prime mover is a wind turbine. Electric power is generated by the conversion of wind power into mechanical energy.
11 | 2018-01-01: Electricity created by converting solar radiation through photovoltaic processes or transforming solar radiation captured by concentrating thermal systems.
How to cite: Statistics Canada. Table 25-10-0015-01 Electric power generation, monthly generation by type of electricity
https://www150.statcan.gc.ca/t1/tbl1/en/tv.action?pid=2510001501

## Quebec
Electric power generation, monthly generation by type of electricity 1 2
Frequency: Monthly
Table: 25-10-0015-01 (formerly CANSIM 127-0002)
Release date: 2021-10-08
Geography: Canada, Province or territory
Quebec
| Total all classes of electricity producer | [11 empty] | Totals
Type of electricity generation | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | 2018-07-01 | 2018-08-01 | 2018-09-01 | 2018-10-01 | 2018-11-01 | 2018-12-01 |  | 2021-01-20 | 2021-02-20 | 2021-03-20 | 2021-04-20 | 2021-05-20 | 2021-06-20 | 2021-07-20 | 2021-08-20 | 2021-09-20 | 2021-10-20 | 2021-11-20 | 2021-12-20
| 2018-01-01: Megawatt hours |  | Megawatt hours
Total all types of electricity generation | 23064296 | 19520542 | 19402289 | 17671030 | 15430974 | 15100562 | 16465017 | 16212264 | 14777143 | 15847602 | 19026585 | 21344151 | 213862455 | 21661882 | 20780618 | 18794600 | 15482044 | 14679815 | 14766351 | 16352167 | 15496957 | 14534385 | 16268753 | 17115756 | 21081326
Hydraulic turbine 3 | 21768608 | 18334708 | 18369200 | 16596715 | 14322901 | 14224356 | 15516223 | 15473579 | 13805134 | 14709225 | 17742181 | 20144663 | 201007493 | 20853994 | 19645004 | 17646198 | 14295533 | 13642758 | 13943100 | 15634267 | 14528763 | 13353412 | 15056894 | 15737568 | 19813048
Conventional steam turbine 4 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Nuclear steam turbine 5 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Internal combustion turbine 6 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Combustion turbine 7 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Total electricity production from combustible fuels 8 | 220870 | 202808 | 210348 | 196843 | 163272 | 164119 | 192284 | 184683 | 144488 | 136893 | 196809 | 198785 | 2212202 | 182071 | 174362 | 176288 | 157980 | 160741 | 139911 | 185252 | 175701 | 174176 | 147839 | 168090 | 183292
Tidal power turbine 9 | [12 empty] | 0 | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | .. | bar: 2018-01-01 to 2018-12-01
Wind power turbine 10 | 1074755 | 982936 | 822628 | 877338 | 944614 | 711900 | 756313 | 553838 | 827354 | 1001375 | 1087535 | 1000661 | 10641247 | 625776 | 961173 | 972006 | 1028387 | 876151 | 683146 | 532464 | 792327 | 1006658 | 1063936 | 1210020 | 1084941
Solar 11 | 63 | 90 | 113 | 134 | 187 | 187 | 197 | 164 | 167 | 109 | 60 | 42 | 1513 | 41 | 79 | 108 | 144 | 165 | 194 | 184 | 166 | 139 | 84 | 78 | 45
Other types of electricity generation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Symbol legend:
.. | 2018-01-01: not available for a specific reference period
Footnotes:
1 | 2018-01-01: For monthly data prior to January 2008, please see table 25-10-0001-01 (terminated). For current monthly data on Electric power receipts and deliveries, see table 25-10-0016-01.
2 | 2018-01-01: The target population for the Monthly Electricity Supply and Disposition Survey has been expanded to improve coverage of renewable energy in Canada, particularly wind and solar power. As a result of this change, users will have to use caution when comparing data for historical purposes. For wind power, significant changes occurred in British Columbia, Alberta, Ontario, Quebec and Prince Edward Island. For solar power, significant changes occurred in Ontario.
3 | 2018-01-01: Electric power generated from a plant in which the turbine generators are driven by flowing water. Prior to January 2008, hydro included wind and tidal generation. From January 2008 on, wind and tidal generation are reported separately.
4 | 2018-01-01: A power plant in which the prime mover is a steam turbine. The steam used to drive the turbine is produced in a boiler where fossil fuels or other combustible materials are burned. From January 2016 on, this generation is reported as part of combustible fuel generation.
5 | 2018-01-01: Electricity generated at an electric power plant whose turbines are driven by steam generated in a reactor by heat from the fission of nuclear fuel.
6 | 2018-01-01: A power plant in which the prime mover is an internal combustion turbine. Electric power is generated by converting energy obtained by the rapid burning of a fuel-air mixture into mechanical energy. From January 2016 on, this generation is reported as part of combustible fuel generation.
7 | 2018-01-01: A power plant in which the prime mover is a combustion turbine. Electric power is generated by converting energy obtained by burning fuel into mechanical energy. From January 2016 on, this generation is reported as part of combustible fuel generation.
8 | 2018-01-01: Total combustible generation includes non-renewable combustible fuels (coal, natural gas, petroleum and other non-renewable combustible fuels) and biomass (wood, spent pulping liquor, methane, municipal waste, other waste and other types of biomass).
9 | 2018-01-01: Electric power generated from a plant in which the turbine generators are driven by moving water from tidal flows.
10 | 2018-01-01: A power plant in which the prime mover is a wind turbine. Electric power is generated by the conversion of wind power into mechanical energy.
11 | 2018-01-01: Electricity created by converting solar radiation through photovoltaic processes or transforming solar radiation captured by concentrating thermal systems.
How to cite: Statistics Canada. Table 25-10-0015-01 Electric power generation, monthly generation by type of electricity
https://www150.statcan.gc.ca/t1/tbl1/en/tv.action?pid=2510001501

## CER Capacity
Select Report Version: Canada’s Energy Future 2020
Select Appendices: Electricity Capacity
Select Case: Reference
Select Type: Primary Fuel
Canada
_ | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Hydro / Wave / Tidal | 72877.98 | 72767.98 | 73568.98 | 74471.98 | 74753.98 | 75148.98 | 75464.84 | 76520.13 | 75991.44 | 78564.85 | 79677.21 | 80624.68 | 80922.48 | 81383.48 | 81433.48 | 81468.27 | 83287.27
Wind | 557.37 | 1443.04 | 1823.24 | 2321.14 | 3240.14 | 3746.11 | 5171.34 | 5883.21 | 7467.01 | 9404.99 | 10945.79 | 11766.8 | 12673.45 | 12781.65 | 13506.05 | 13901.05 | 14278.05
Biomass / Geothermal | 1708.29 | 1714.89 | 1714.89 | 1638.89 | 1707.99 | 1772.99 | 1802.49 | 1857.59 | 1886.43 | 2341.53 | 2209.63 | 2488.2 | 2410.6 | 2432.4 | 2232.9 | 2283.8 | 2337.05
Solar | 16.75 | 20.48 | 25.77 | 32.72 | 94.57 | 281.13 | 419.4 | 647.48 | 1027.63 | 1523.48 | 2135.48 | 2416.06 | 2614.46 | 2719.86 | 2906.86 | 2967.86 | 3202.15
Uranium | 12805 | 13345 | 13345 | 13345 | 13345 | 13345 | 13345 | 13345 | 14345 | 14273 | 14273 | 14273 | 13338 | 13338 | 13338 | 12513 | 12513
Coal & Coke | 15647.64 | 15563.64 | 15650.64 | 15471.64 | 15528.64 | 13779.64 | 13253.64 | 12419.64 | 11445.94 | 9641.64 | 9517.44 | 9517.44 | 9517.44 | 8929.44 | 8929.44 | 8521.8 | 7976.8
Natural Gas | 13561.11 | 13858.78 | 13954.9 | 15717.1 | 15820.33 | 18944.95 | 19354.65 | 19891.08 | 20065.77 | 20153.21 | 21931.08 | 21566.92 | 22095.92 | 22565.92 | 22726.92 | 24473.32 | 26234.32
Oil | 4770.08 | 4519.44 | 4524.44 | 4520.69 | 4474.83 | 4609.02 | 3916.28 | 3641.15 | 3645.15 | 3655.7 | 3500.7 | 3558.68 | 3594.53 | 3614.53 | 3624.53 | 3624.53 | 3134.53
Quebec
_ | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Hydro / Wave / Tidal | 36473 | 36686 | 37440 | 38265 | 38414.01 | 38426.01 | 38184 | 39217 | 38433 | 40034 | 40212 | 40396.95 | 40442.15 | 40853.15 | 40853.15 | 40866.35 | 41111.35
Wind | 207 | 317 | 417 | 527 | 660 | 663.97 | 923 | 1199.57 | 2187.4 | 2648.4 | 3045.4 | 3332.72 | 3732.37 | 3879.57 | 4303.97 | 4329.97 | 4329.97
Biomass / Geothermal | 278 | 278 | 278 | 230 | 230 | 230 | 240 | 240 | 240 | 240 | 245 | 244.84 | 244.84 | 266.64 | 266.64 | 276.54 | 325.79
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 20.3 | 20.3
Uranium | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal & Coke | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas | 31.05 | 591.05 | 591.05 | 591.05 | 591.05 | 589.45 | 564.45 | 564.45 | 564.53 | 560.53 | 560.53 | 649.13 | 649.13 | 649.13 | 649.13 | 649.13 | 649.13
Oil | 1594.63 | 1382.99 | 1382.99 | 1382.99 | 1382.99 | 1382.99 | 723.28 | 415.12 | 415.12 | 415.12 | 253.12 | 311.04 | 311.04 | 311.04 | 311.04 | 311.04 | 311.04
Ontario
_ | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Hydro / Wave / Tidal | 8505 | 8410 | 8410 | 8416 | 8424 | 8463 | 8524 | 8524 | 8565 | 8972 | 9023 | 9105.3 | 9161.3 | 9161.3 | 9161.3 | 9170.9 | 9170.9
Wind | 15 | 414 | 491 | 782 | 1168 | 1447 | 1970 | 2053 | 2491 | 3490 | 4374 | 4841.45 | 5115.45 | 5076.45 | 5376.45 | 5436.45 | 5536.45
Biomass / Geothermal | 181.7 | 148.7 | 148.7 | 120.7 | 179.7 | 179.7 | 179.7 | 179.7 | 179.7 | 564.7 | 438.1 | 774 | 665.4 | 665.4 | 465.4 | 465.4 | 465.4
Solar | 16.75 | 20.48 | 25.77 | 32.72 | 94.57 | 281.13 | 419.4 | 645.3 | 1018.7 | 1509.4 | 2119 | 2400.46 | 2580.46 | 2669.46 | 2815.46 | 2815.46 | 2815.46
Uranium | 11450 | 11990 | 11990 | 11990 | 11990 | 11990 | 11990 | 11990 | 13640 | 13568 | 13568 | 13568 | 12633 | 12633 | 12633 | 11808 | 11808
Coal & Coke | 6226 | 6118 | 6128 | 5949 | 5949 | 4487 | 4064 | 3296 | 2291 | 153 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas | 4916.91 | 5007.27 | 5005.44 | 6361.94 | 6022.17 | 8870.89 | 9094.02 | 9276.02 | 9314.02 | 8949.34 | 9556.34 | 9629.63 | 9918.63 | 9918.63 | 9918.63 | 10903.63 | 10903.63
Oil | 115.81 | 115.81 | 115.81 | 115.81 | 115.81 | 249.32 | 249.32 | 249.32 | 249.32 | 250.45 | 250.45 | 250.45 | 250.45 | 250.45 | 250.45 | 250.45 | 250.45
Alberta
_ | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Hydro / Wave / Tidal | 869 | 874 | 874 | 874 | 874 | 874 | 879 | 894 | 894 | 894 | 894 | 894.35 | 894.35 | 894.35 | 894.35 | 894.35 | 894.35
Wind | 251 | 386 | 525 | 525 | 591 | 723 | 865 | 1088 | 1088 | 1434 | 1463 | 1466.76 | 1466.76 | 1466.76 | 1466.76 | 1745.76 | 1745.76
Biomass / Geothermal | 271 | 313.1 | 313.1 | 313.1 | 323.2 | 340.2 | 358.7 | 413.8 | 416.65 | 438.3 | 428 | 281.61 | 272.61 | 272.61 | 272.61 | 313.61 | 317.61
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.18 | 4.47 | 4.47 | 4.47 | 4.47 | 21.47 | 36.47 | 36.47 | 36.47 | 236.47
Uranium | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal & Coke | 5696 | 5720 | 5774 | 5774 | 5827 | 5591 | 5488 | 5546 | 5679.3 | 6114 | 6142.8 | 6142.8 | 6142.8 | 5554.8 | 5554.8 | 5399.8 | 4993.8
Natural Gas | 4904 | 4452.69 | 4558.44 | 4956.44 | 5247.44 | 5326.44 | 5385 | 5791.44 | 5945 | 6241.44 | 7177.96 | 7510.15 | 7750.15 | 8100.15 | 8250.15 | 8657.15 | 10238.15
Oil | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15 | 7.15
British Columbia
_ | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Hydro / Wave / Tidal | 12847 | 12614 | 12661 | 12733 | 12858 | 13202 | 13673 | 13673 | 13687 | 14207 | 15029 | 15708.87 | 15905.47 | 15955.47 | 16005.47 | 16017.47 | 16017.47
Wind | 0 | 0 | 0 | 0 | 102 | 102 | 246 | 246 | 388 | 488 | 488 | 488.25 | 702.25 | 702.25 | 702.25 | 732.25 | 732.25
Biomass / Geothermal | 742.5 | 742.5 | 742.5 | 742.5 | 742.5 | 790.5 | 791.5 | 791.5 | 817.5 | 817.5 | 817.5 | 887.79 | 927.79 | 927.79 | 927.79 | 927.79 | 927.79
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.28 | 2.28 | 3.28 | 3.28 | 3.28 | 3.28 | 23.28 | 23.28 | 23.28
Uranium | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal & Coke | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas | 1375.52 | 1474.52 | 1474.52 | 1474.52 | 1474.52 | 1474.52 | 1526.53 | 1474.52 | 1523.52 | 1523.52 | 1523.52 | 520.33 | 520.33 | 520.33 | 520.33 | 520.33 | 520.33
Oil | 82.46 | 82.46 | 82.46 | 82.46 | 82.46 | 82.46 | 49.43 | 82.46 | 82.46 | 82.46 | 82.46 | 82.46 | 122.46 | 122.46 | 122.46 | 122.46 | 122.46

## Calculations
Seasonal Peak Month
| Balancing Area | Summer | Winter
| Alberta | August | December
| Ontario | August | December
| BC | August | December
| Quebec | August | December
Peak Month Capacity Factors (most recent year)
Balancing Area | Electricity Source | Summer | Winter | Annual Load
Alberta | hard coal | 0.62879 | 0.6617 | 72958398
Alberta | natural gas nonpeaker | 0.60942 | 0.6617 | 72958398
Alberta | hydro | 0.36602 | 0.18685 | 1997591
Alberta | onshore wind | 0.23402 | 0.48649 | 4119223
Alberta | solar pv | 0.1022 | 0.018169 | 25547
Ontario | natural gas nonpeaker | 0.24957 | 0.13084 | 13353087
Ontario | nuclear | 0.85123 | 0.83112 | 90155270
Ontario | hydro | 0.39255 | 0.50904 | 37687913
Ontario | onshore wind | 0.1512 | 0.30835 | 11253753
Ontario | solar pv | 0.15725 | 0.030499 | 2176592
BC | natural gas nonpeaker | 0.37416 | 0.45078 | 5599378
BC | hydro | 0.43493 | 0.45194 | 60434039
BC | onshore wind | 0.23436 | 0.27545 | 1422361
BC | solar pv | 0.077859 | 0.011064 | 1558
Quebec | natural gas nonpeaker | 0.20234 | 0.21779 | 2212202
Quebec | hydro | 0.50909 | 0.66277 | 201007493
Quebec | onshore wind | 0.19188 | 0.34668 | 10641247
Quebec | solar pv | 0.73477 | 0.18817 | 1513

## PTCF
Unit: dimensionless (peak time capacity factors) | summer | winter
hard coal | 0.9 | 0.9
natural gas nonpeaker | 0.9 | 0.9
nuclear | 0.9 | 0.9
hydro | 1 | 1
onshore wind | 0.18372 | 0.34826
solar pv | 0.15695 | 0.030451
solar thermal | 0.15695 | 0.030451
biomass | 1 | 1
geothermal | 0.9 | 0.9
petroleum | 0.9 | 0.9
natural gas nonpeaker | 0.9 | 0.9
lignite | 0.9 | 0.9
offshore wind | 0.18372 | 0.34826
crude oil | 0.9 | 0.9
heavy or residual fuel oil | 0.9 | 0.9
municipal solid waste | 0.9 | 0.9